Save a Life, Clean Some Water! Activity – 
Let’s Clean Some Water! Data Worksheet

Instructions

Turbidity - measure in cm if using a Turbidity Tube and NTU (or FTU) if using a turbidimeter

Total Coliforms – count blue and red dots on the Petrifilm

E. coli – count only blue dots on the Petrifilm

| Parameter | Influent Water | Effluent Water | Improvement (%) |
| --- | --- | --- | --- |
| Turbidity (cm or NTU) |  |  |  |
| Total Coliform (CFU) |  |  |  |
| E. coli (CFU) |  |  |  |

Calculating Improvement

x 100  =  Percent Improvement

(Influent – Effluent)

Influent

If measuring turbidity in cm, use the following equation (because in this case a higher number indicates lower turbidity):

x 100  =  Percent Improvement

(Effluent – Influent)

Effluent

Questions

- Did your water filtration/disinfection system work?

- Was there a decrease in turbidity and coliforms?

- Did the treated water meet WHO or US EPA recommendations for turbidity, total coliforms, and E. coli?

- Describe your results.