Determining Concentration Worksheet Answers

Fill in this table with the reflected light values for standards A-G and the two unknown samples.

|  | Sample | Concentration (drops/20 ml) | Reflected light (%) |
| --- | --- | --- | --- |
| Standards | A | 50 | 31 |
|  | B | 30 | 36 |
|  | C | 20 | 38 |
|  | D | 10 | 40 |
|  | E | 5 | 43 |
|  | F | 1 | 44 |
|  | G | 0 | 45 |
| Unknowns | 1 | ? | 40 |
|  | 2 | ? | 33 |

Plot the reflected light values for the standards versus the concentration below.

Instructions for determining the concentrations of your unknown solutions:

- Plot a straight line through as many of the points that you plotted for the standards as you can. Use a ruler to draw a line that best fits the data. Look at all the points and line up the ruler so that some of the points fall above the line, and some below. Draw a single line that that passes through the middle of the points.

- Locate the reflected light value for Unknown 1 on the y-axis. Match it to the location on the standards line; then see what the corresponding concentration is.

Concentration of Unknown 1: 		15			 drops/vial

Repeat for Unknown 2.

Concentration of Unknown 2: 		40			 drops/vial

Answer the following questions.

- Determine the percent change between the reflected light value of Standard A and Standard D.

percent change= Reflected light Standard A-Reflected lightStandard DReflected light Standard A x 100

percent change= A-DA x 100

percent change= 31-4031 x 100= 931 x 100=0.2903 x 100

percent change= 29.0 %

- Determine the percent change between the concentration of Standard A and Standard D.

percent change= Concentration Standard A-ConcentrationStandard DConcentration Standard A x 100

percent change= A-DA x 100

percent change= 50-1050 x 100= 1050 x 100=0.2000 x 100

percent change= 20.0 %

- Compare your answers to questions 1 and 2. What do you notice?

The percent change between reflectivity values and the concentrations are very similar, being 29% and 20%, respectively. (Ideally these values should be equal, but they are unequal due to experimental error.)

- The actual concentration for Unknown 1 is 15 drops/cuvette, and the actual concentration for Unknown 2 is 40 drops/cuvette.

Calculate the percent error for the concentration you determined for your Unknowns. Use the following formula:

percent error= experimental-actualactual x 100

Unknown 1					Unknown 2

% error = (15-15)/15 x 100			% error = (40-40)/40 x 100

= 0 x 100					= 0 x 100

= 0 %						= 0 %

(Expect students to obtain experimental errors not equal to 0 since their experimental values will differ from the actual values.)

At this point (but not before), provide actual values to the class.