American Disabilities Act Research Form

American Disabilities Act (ADA) Checklist for Existing Facilities – 2010 ADA Standards for Accessible Design

1) What federal law provides access to public facilities? ______________________________________

2) What are the four priority areas for accessible design (p. 2, introduction)?

a) Priority I: ____________________________________________________________________

b) Priority II: ___________________________________________________________________

c) Priority III: ___________________________________________________________________

d) Priority IV: __________________________________________________________________

3) The most recent rules for the ADA standards were developed in _____________________________ (p. 3).

4) According to the definition of public accommodation bakeries, ______________________ __________________, hardware stores, and shopping centers are all places that must be accessible for people with disabilities (p. 5).

PRIORITY 1 – APPROACH & ENTRANCE (pp. 7 – 18)

5) For public parking, there must be ____________________ accessible parking space per 25 regular spots (p. 3).

6) For every _________________ accessible spaces, there must be ________________ van accessible space (p. 3).

7) Accessible spaces must be at least __________________ feet wide, with an access aisle of ___________ feet (p. 3).

8) a) Accessible spaces must be marked by an international symbol of __________________ sign (p. 5).

b) The bottom of the sign must be at least ________________________ inches above the ground (p. 5).

9) Ramps in front of accessible buildings must have a slope no more than ____________________ or 2.86◦ or 5% (p. 7).

10) Ramps must be at least ______________________ inches wide (p. 11).

11) The opening width of accessible entrance doors must be at least ________________ inches wide (p. 15).

PRIORITY 2 – ACCESS TO GOODS & SERVICES (pp. 1 – 33)

12) Routes must be at least __________________________ inches wide (p. 3).

13) Objects protruding through public areas (fire extinguishers) should not stick out more than __________ inches (p. 5).

14) Objects that protrude more than 4 inches (drinking foundations) must be ____________ inches in height (p. 5).

15) Elevators should have buttons no higher than _____________________ inches off the ground (p. 10).

16) Full-sized elevators should be at least ______________________________________ square feet in area (p. 11).

17) Elevators should have door width openings of at least ___________________ inches (p. 11).

18) Full-sized elevators should have floor signs on each level between ______ and _______ inches high (p. 13).

19) Permanent rooms and spaces should have signs with raised characters and Braille between _______ and _______ inches above the floor (p. 13-14).

20) Operable door handle parts should be no less than __________ inches and no more than __________ inches above the floor (p. 19).

21) Doors that have closers should take _______________ seconds from the position of 90 degrees to 12 degrees (p. 19).

22) Aisles and pathways should be at least __________________ inches wide (p. 21).

23) Light switches need to be operable without moving the ____________________ (p. 21).

24) Accessible spaces should have surfaces no less than _____________ inches but no greater than ___________ inches above the floor (p. 25).

25) Service counters should have places where surfaces are not greater than _______________ inches in height (p. 28).

PRIORITY 3 – TOILET ROOMS (pp. 1 – 22)

1) Restroom signs should have contrast, raised text with Braille and no more than ________ inches above the floor (pp. 4-5).

2) Faucets should be operable without moving the ________________ (p. 12).

3) The height of the toilet is no less than ______________ inches and no greater than ____________ inches (p. 16)

4) A gripping surface (bar) is no less than _______ inches but no greater than _________ inches above the floor (p. 16).

PRIORITY 4 – Additional Access (pp. 1 – 8)

1) Drinking fountains should be no higher than _____________ inches above the floor (p. 4).

2) The drinking fountain control should be operable without moving the _________________ (p. 4).

3) Drinking foundations should protrude no more than ____________ inches into walkways/paths (p. 5).

4) Fire alarm systems have both __________________ and _____________________ signals (p. 8).