Prosthetics Worksheet Answer Key

Fill in details about the following aspects of prosthetic limbs:

- Purpose and benefits of prostheses (artificial body parts):

To restore functionality and capabilities of lost limbs.

Enables patients to regain mobility, conduct daily living activities, keep a job, etc.

- Design considerations:

  - Location: Does a joint need to be replaced? What functions should the prosthesis be able to perform? Does it need to appear natural?

  - Strength vs. weight: The prosthesis needs to be strong enough to be durable (and possibly support body weight if it is a lower limb), but light enough to be easily moved.

  - Attachment method: How will the prosthesis be securely attached to the body, yet still permit it to move as needed?

  - Available materials: What materials are available to fabricate the prosthesis? What materials make sense for the particular prosthesis?

  - Cost: How much will the finished prosthesis cost? Is the cost reasonable for patients to afford?

- Parts of a prosthesis:

  - Interface (socket): Where the prosthetic device meets the remaining part of the limb. Usually includes some kind of suspension system /attachment method.

  - Components (pylon): The internal working parts of the prosthesis.

  - Foot: Or hand, in the case of an arm prosthesis.

  - Cover: The prosthesis may be covered in a material to make it look more lifelike.

- Four main types of artificial limbs:

  - Transradial: A prosthesis that replaces the arm from below the elbow (includes the wrist, hand and fingers).

  - Transhumeral: A prosthesis that replaces the arm from above the elbow (includes the elbow, wrist, hand and fingers).

  - Transtibial: A prosthesis that replaces the leg from below the knee (includes the ankle, foot and toes).

  - Transfemoral: A prosthesis that replaces the leg from above the knee (includes the knee, angle, foot and toes).