Week 3 Questions Answer Key

Water Testing and Measurement

1. How many parameters will our water test strips test? ___16_________ 2. Name three of the parameters that we will test for. Three of the following: lead, copper, iron, fluoride, bromine, mercury, total hardness, nitrite, nitrate, total chlorine, aluminum, pH, sulfate, total alkalinity, free chlorine, cyanuric acid 3. A result that is underlined in red indicates that the sample is ___beyond__________ the __EPA____ _______limits________________________________. 4. The Red Sea Algae Control Test Kit tests for ____nitrate________________ and ______phosphate______________. 5. For the first test of the Red Sea test kit (PO4), do the following: a. Begin with ____17_______ mL of sample water. b. Add ___10________ drops of reagent A. c. Swirl __10________ seconds. d. Add _____2______ drops of reagent B. e. Swirl _____10_____ seconds. f. Wait _____6_____ minutes. For the second test of the Red Sea test kit (NO3), do the following: A. Begin with _____16______ mL of sample water. B. Add ____5_______ drops of reagent A. C. Swirl ____15______ seconds. D. Add _____1______ level scoop of reagent B. E. Swirl ____60______ seconds with the lid on. F. Add ______1_____ level scoop of reagent C (with a different spoon). G. Swirl _____15_____ seconds with the lid on. H. Wait _______9___ minutes. 6. High-range test ... only if necessary. Begin with _____1______ mL of sample water with _____15_______ mL of RO water. Then follow Steps B through H from #5 above. 7. Spectroscopy: The study of ________electromagnetic______________________ radiation emitted or absorbed by a _______chemical________________ species. 8. Spectrophotometry is a type of spectroscopy that measures how much ___light__________ is __absorbed_______________ by a chemical substance by measuring the _____intensity__________________ of the light beam that is not absorbed. 9. What we see from color is ______transmitted__________________ light, the difference between incident light and absorbed light. 10. Parts of a spectrophotometer: a. Light source b. Collimator (___lens________) c. Monochromator (__prism__________ or grating) d. ______wavelength_______________ selector (slit) e. Sample solution (in cuvette) f. Detector (__photocell___________________) g. Digital display or meter The relationship between absorbance and transmittance is logarithmic.