Week 3 Questions

Water Testing and Measurement

1. How many parameters will our water test strips test? ____________ 2. Name three of the parameters that we will test for. a. _________________________ b. _________________________ c. _________________________ 3. A result that is underlined in red indicates that the sample is _____________ the ______ _______________________________________. 4. The Red Sea Algae Control Test Kit tests for ____________________ and ____________________. 5. For the first test of the Red Sea test kit (PO4), do the following: a. Begin with ___________ mL of sample water. b. Add ___________ drops of reagent A. c. Swirl __________ seconds. d. Add ___________ drops of reagent B. e. Swirl __________ seconds. f. Wait __________ minutes. For the second test of the Red Sea test kit (NO3), do the following: A. Begin with ___________ mL of sample water. B. Add ___________ drops of reagent A. C. Swirl __________ seconds. D. Add ___________ level scoop of reagent B. E. Swirl __________ seconds with the lid on. F. Add ___________ level scoop of reagent C (with a different spoon). G. Swirl __________ seconds with the lid on. H. Wait __________ minutes. 6. High-range test ... only if necessary. Begin with ___________ mL of sample water with ____________ mL of RO water. Then follow Steps B through H from #5 above. 7. Spectroscopy: The study of ______________________________ radiation emitted or absorbed by a _______________________ species. 8. Spectrophotometry is a type of spectroscopy that measures how much _____________ is _________________ by a chemical substance by measuring the _______________________ of the light beam that is not absorbed. 9. What we see from color is ________________________ light, the difference between incident light and absorbed light. 10. Parts of a spectrophotometer: a. Light source b. Collimator (___________) c. Monochromator (____________ or grating) d. _____________________ selector (slit) e. Sample solution (in cuvette) f. Detector (_____________________) g. Digital display or meter The relationship between absorbance and transmittance is logarithmic.