User Needs Worksheet Example Answer Key 1

Instructions: Each group member completes and writes their name on a colored section of the table.

| Medical Needs to be considered in your design | Medically needed for ... |
| --- | --- |
| Ability to inject all types of medications simultaneously (Andrew) |  |
| Ability to provide blood transfusions (Andrew) |  |
| Ability to draw blood for testing (Andrew) |  |
| Deliver medication to the client (Chris) |  |
| Test client blood flow (Chris) |  |
| Deliver saline to client (Chris) |  |

| Client’s Statements - from video | Interpreted Needs |
| --- | --- |
| He doesn’t like placement of tubes. | The product will be placed in an unnoticeable site. (Maura) |
| He complained about needing to clean the dressing too often. | The client will be able to easily keep the product clean. (Maura) |
| He complained of limited motion. | The product will be placed in a location that allows for movement. (Maura) |
| He was worried about risk of infection. | The client will be able to keep the product clean and sterile to reduce the risk of infection. (Maura) |
| He was worried about risk of blood clots which could lead to stroke. | He The product will allow unlimited flow of blood. (Jackie) |
| He complained about not being to put pressure on it. | The product will be stable. (Jackie) |
| He complained of damage to skin. | The client will experience limited visible scarring (Jackie) |