Catching the Perfect SAR Waves: Mathematical Model

ANSWER KEY

Instructions:  Use the table and graph provided to record your results when calibrating your radar system.  Represent the distance as a function of voltage.  It is recommended that you verify your voltage output more than once to ensure accurate readings. Readings from sensor to sensor may vary slightly.

Radar Position:  Horizontal

| Distance (cm) | Voltage (V) |
| --- | --- |
| 20 | 2.40 |
| 30 | 1.90 |
| 40 | 1.45 |
| 50 | 1.15 |
| 60 | 0.98 |
| 70 | 0.86 |
| 80 | 0.79 |
| 90 | 0.75 |
| 100 | 0.73 |
| 110 | 0.75 |
| 120 | 0.75 |
| 130 | 0.77 |
| 140 | 0.78 |
| 150 | 0.79 |

Radar Position:  Vertical

| Distance (cm) | Voltage (V) |
| --- | --- |
| 20 | 2.37 |
| 30 | 1.85 |
| 40 | 1.62 |
| 50 | 1.43 |
| 60 | 1.02 |
| 70 | 0.81 |
| 80 | 0.66 |
| 90 | 0.54 |
| 100 | 0.45 |
| 110 | 0.40 |
| 120 | 0.39 |
| 130 | 0.41 |
| 140 | 0.43 |
| 150 | 0.47 |